## Slide 1: 2009 Virginia Uniform Statewide Building Code (USBC)
Concrete Specifications
By: Teck L. Chua, PE
Director - Technical Services
NVCAC, April 11, 2013

## Slide 2: Overview
The law (people with handcuffs).
Detail Code requirements on concrete.
When the Virginia Code provides no details – what’s next?

## Slide 3: Effective March 1, 2011

## Slide 7
Deadline: March 1, 2012

## Slide 10: Code Requirements – the Details on concrete

## Slide 11
Two zones in Virginia

## Slide 12
Should have been named concrete requirements

## Slide 13: Deicing chemical exposure limits content of fly ash, slag cement, other pozzolans

## Slide 14: Material Standards: ACI 318-08 Ch. 3 or ACI 332
The usual ASTMs covering cementitious materials, aggregates, water, admixtures, ready mixed concrete, sampling and testing.

## Slide 16
Driveway and Walkway are not mentioned!

## Slide 17: When the Virginia Code has no details – Anything goes?

## Slide 18
What if “generally recognized standards of performance ARE available . . . ?“

## Slide 20
IRC:

## Slide 23: “Cal” – calcium chloride
Reinforced: yes, when dry or protected
Plain: yes, all conditions
“2.0% by weight of cementitious materials”
  450pcy*2% < 9 pcy
  530pcy*2% < 10.6 pcy
Molecular weight: calcium chloride 2X chloride ion
  ACI332-2% < ACI 318-0.15%

## Slide 24: Placement time > 90 min

## Slide 29: Jt. Depth: Min 3.5”*0.25 = 0.875” = 7/8”

## Slide 31: WWF – reinforcement?

## Slide 32: Summary
Residential concrete construction is governed by a Code that is as tough as commercial concrete construction.
Concrete exposed to deicing chemicals, such as driveways, requires 4500psi concrete.

## Slide 33: Questions ?